Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection: 1

Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection:

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 1

Is time GMT? (Y/N) [N]? Y

Enter time [03/03/19 23:25:53]: 03/04/19 07:25:00

Time now: 03/04/19 07:25:00 GMT

Note: Daylight Savings not observed. Use GMT when this will be an issue.

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 1

Is time GMT? (Y/N) [N]? Y

Enter time [03/04/19 07:25:14]:

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 2

Enter data file name (no spaces, 8 characters before .txt or .xls) [CTST0220.txt]: COIN2019.txt

File name now: COIN2019.txt

Enter user initials [JKW]: RBD

User initials now: RBD

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 3

Sample aligned to hour? (Y/N) [Y]? Y

Enter sample period [30] sec:

Enter pH sample average [10] samples:

Enter pump on time [0] sec:

Enter low battery_voltage (10.5 V for SeapHOx, 5.5 V for SeaFET) [10.5 V]:

Output mode menu

1 -- Normal  (Data only)

2 -- Verbose (Data with prompts)

Enter Selection [2]:

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 3

Sample aligned to hour? (Y/N) [Y]? Y

Enter sample period [30] sec: 30

Sample period now 30 sec.

Enter pH sample average [10] samples: 10

pH sample average now 10.

Enter pump on time [0] sec: 0

Pump on time now 0 sec.

Enter low battery_voltage (10.5 V for SeapHOx, 5.5 V for SeaFET) [10.5 V]: 10.5

Low battery_voltage now [10.5 V]

Output mode menu

1 -- Normal  (Data only)

2 -- Verbose (Data with prompts)

Enter Selection [2]: 2

Output mode now: VERBOSE

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 9

System data stored.  -- Press enter to bring up main menu

Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection: 2

Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection:

***************** Deployment Settings **************

Sampling period:        30 seconds

Samples hour aligned    Yes

pH sample average:      10 samples

Pump on time:   0 seconds

Low battery voltage:    10.5 V

Output mode:    Verbose

Eo_int @ 25 C =         -0.420300 V

Eo_ext @ 25 C =         -1.100000 V

File name:      COIN2019.txt

Current time: 03/04/19 07:28:13

*****************************************************

SBE pump will run and must be immersed at start time!

Starting deployment...

Sleeping until 03/04/19 07:28:15

#0      2019/03/04 07:28:13     18.40    0.92023         0.00011        -0.028308       0.000010        -1.078951       0.000006        -0.847247       0.000006         5.78   -29.11  27.293  -2.418  -1.046562       6.617897        0.000674        0.000228        4835    464     112.181 45.567  27.569  36.347  36.187  45.353  9.166   511.6   819.6   27.7      28.3675         0.00005          0.0130        04 Mar 2019     07:27:54

Sleeping until 03/04/19 07:28:30

#1      2019/03/04 07:28:30     18.40    0.92020         0.00010        -0.028324       0.000008        -1.078977       0.000009        -0.847108       0.000014         5.84   -29.11  27.295  -2.448  -1.046994       6.617630        0.000685        0.000220        4835    464     112.447 45.679  27.573  36.316  36.156  45.356  9.200   511.1   819.1   27.6      28.3744         0.00004          0.0130        04 Mar 2019     07:28:09

Sleeping until 03/04/19 07:29:00

Enter command (ts, gdata, stop):

No command, resuming deployment...

Sleeping until 03/04/19 07:29:07

#2      2019/03/04 07:29:00     18.40    0.92003         0.00011        -0.028295       0.000012        -1.078942       0.000005        -0.846755       0.000007         5.85   -29.11  27.300  -2.461  -1.046317       6.618096        0.000674        0.000234        4835    464     112.196 45.584  27.583  36.339  36.179  45.383  9.204   509.8   818.0   27.3      28.3241         0.00004          0.0130        04 Mar 2019     07:28:46

Sleeping until 03/04/19 07:29:30

#3      2019/03/04 07:29:30     18.40    0.91998         0.00010        -0.028314       0.000008        -1.078965       0.000008        -0.846533       0.000009         5.85   -29.11  27.302  -2.445  -1.046675       6.617759        0.000682        0.000227        4835    464     112.210 45.596  27.590  36.335  36.175  45.395  9.220   509.3   817.1   27.0      28.3466         0.00004          0.0130        04 Mar 2019     07:29:09

Sleeping until 03/04/19 07:30:00

#4      2019/03/04 07:30:00     18.40    0.91987         0.00011        -0.028317       0.000014        -1.078969       0.000009        -0.845829       0.000068         5.84   -29.11  27.306  -2.424  -1.046679       6.617701        0.000683        0.000232        4835    464     112.252 45.620  27.599  36.326  36.166  45.407  9.241   508.7   816.7   26.8      28.3979         0.00005          0.0131        04 Mar 2019     07:29:39

Sleeping until 03/04/19 07:30:30

Enter command (ts, gdata, stop):

No command, resuming deployment...

Sleeping until 03/04/19 07:30:30

#5      2019/03/04 07:30:30     18.40    0.91979         0.00008        -0.028274       0.000010        -1.078950       0.000007        -0.845925       0.000011         5.85   -29.11  27.309  -2.456  -1.046333       6.618407        0.000677        0.000231        4835    464     112.170 45.594  27.608  36.331  36.171  45.394  9.223   508.4   816.4   26.5      28.3306         0.00004          0.0130        04 Mar 2019     07:30:09

Sleeping until 03/04/19 07:31:00

#6      2019/03/04 07:31:00     18.40    0.91964         0.00008        -0.028278       0.000011        -1.078951       0.000008        -0.845677       0.000011         5.77   -29.10  27.314  -2.428  -1.046264       6.618332        0.000677        0.000227        4835    464     112.130 45.586  27.617  36.332  36.172  45.406  9.235   508.2   816.0   26.2      28.3485         0.00004          0.0130        04 Mar 2019     07:30:39

Sleeping until 03/04/19 07:31:30

#7      2019/03/04 07:31:30     18.40    0.91942         0.00011        -0.028282       0.000007        -1.078932       0.000007        -0.845919       0.000018         5.77   -29.10  27.321  -2.406  -1.045836       6.618231        0.000678        0.000227        4835    464     112.086 45.574  27.625  36.333  36.173  45.398  9.225   508.2   815.9   25.9      28.3339         0.00004          0.0130        04 Mar 2019     07:31:09

Sleeping until 03/04/19 07:32:00

#8      2019/03/04 07:32:00     18.40    0.91928         0.00010        -0.028319       0.000007        -1.078940       0.000007        -0.845221       0.000014         5.84   -29.10  27.326  -2.431  -1.045905       6.617594        0.000682        0.000229        4835    464     112.134 45.601  27.634  36.324  36.164  45.461  9.297   508.3   815.6   25.6      28.3767         0.00004          0.0131        04 Mar 2019     07:31:39

Sleeping until 03/04/19 07:32:30

#9      2019/03/04 07:32:30     18.40    0.91915         0.00010        -0.028286       0.000009        -1.078927       0.000006        -0.844963       0.000008         5.85   -29.10  27.331  -2.405  -1.045618       6.618132        0.000676        0.000223        4835    464     112.353 45.699  27.644  36.296  36.136  45.453  9.318   508.4   816.0   25.3      28.3889         0.00004          0.0131        04 Mar 2019     07:32:09

Sleeping until 03/04/19 07:33:00

#10     2019/03/04 07:33:00     18.40    0.91892         0.00010        -0.028280       0.000009        -1.078922       0.000008        -0.844692       0.000007         5.84   -29.10  27.339  -2.414  -1.045411       6.618206        0.000673        0.000228        4835    464     112.096 45.601  27.653  36.320  36.160  45.455  9.295   508.8   815.9   25.0      28.4075         0.00005          0.0131        04 Mar 2019     07:32:39

Sleeping until 03/04/19 07:33:30