Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection: 1

Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection:

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 1

Is time GMT? (Y/N) [N]? Y

Enter time [03/03/19 23:25:53]: 03/04/19 07:25:00

Time now: 03/04/19 07:25:00 GMT

Note: Daylight Savings not observed. Use GMT when this will be an issue.

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 1

Is time GMT? (Y/N) [N]? Y

Enter time [03/04/19 07:25:14]:

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 2

Enter data file name (no spaces, 8 characters before .txt or .xls) [CTST0220.txt]: COIN2019.txt

File name now: COIN2019.txt

Enter user initials [JKW]: RBD

User initials now: RBD

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 3

Sample aligned to hour? (Y/N) [Y]? Y

Enter sample period [30] sec:

Enter pH sample average [10] samples:

Enter pump on time [0] sec:

Enter low battery_voltage (10.5 V for SeapHOx, 5.5 V for SeaFET) [10.5 V]:

Output mode menu

1 -- Normal  (Data only)

2 -- Verbose (Data with prompts)

Enter Selection [2]:

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 3

Sample aligned to hour? (Y/N) [Y]? Y

Enter sample period [30] sec: 30

Sample period now 30 sec.

Enter pH sample average [10] samples: 10

pH sample average now 10.

Enter pump on time [0] sec: 0

Pump on time now 0 sec.

Enter low battery_voltage (10.5 V for SeapHOx, 5.5 V for SeaFET) [10.5 V]: 10.5

Low battery_voltage now [10.5 V]

Output mode menu

1 -- Normal  (Data only)

2 -- Verbose (Data with prompts)

Enter Selection [2]: 2

Output mode now: VERBOSE

Configuration Menu--SeaFET/SeapHOx v3.0

1 -- Set Clock

2 -- Change File Name

3 -- Set Deployment Parameters

4 -- Enter pH Sensor Calibration Coefficients

5 -- Calculate pH Sensor Calibration Coefficients

9 -- Exit to Main Menu

Enter Selection [9]: 9

System data stored.  -- Press enter to bring up main menu

Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection: 2

Main Menu--SeaFET/SeapHOx v3.0  -- Will deploy in 30 seconds

1 -- Configure

2 -- Deploy

3 -- Test

4 -- Sleep

5 -- Files

Enter Selection:

***************** Deployment Settings **************

Sampling period:        30 seconds

Samples hour aligned    Yes

pH sample average:      10 samples

Pump on time:   0 seconds

Low battery voltage:    10.5 V

Output mode:    Verbose

Eo_int @ 25 C =         -0.420300 V

Eo_ext @ 25 C =         -1.100000 V

File name:      COIN2019.txt

Current time: 03/04/19 07:28:13

*****************************************************

SBE pump will run and must be immersed at start time!

Starting deployment...

Sleeping until 03/04/19 07:28:15

#0      2019/03/04 07:28:13     18.40    0.92023         0.00011        -0.028308       0.000010        -1.078951       0.000006        -0.847247       0.000006         5.78   -29.11  27.293  -2.418  -1.046562       6.617897        0.000674        0.000228        4835    464     112.181 45.567  27.569  36.347  36.187  45.353  9.166   511.6   819.6   27.7      28.3675         0.00005          0.0130        04 Mar 2019     07:27:54

Sleeping until 03/04/19 07:28:30

#1      2019/03/04 07:28:30     18.40    0.92020         0.00010        -0.028324       0.000008        -1.078977       0.000009        -0.847108       0.000014         5.84   -29.11  27.295  -2.448  -1.046994       6.617630        0.000685        0.000220        4835    464     112.447 45.679  27.573  36.316  36.156  45.356  9.200   511.1   819.1   27.6      28.3744         0.00004          0.0130        04 Mar 2019     07:28:09

Sleeping until 03/04/19 07:29:00